Product program / Power Supply / Battery Charger

BC-920      1CE

The battery charger shall employ a quick charging system for lithium-ion batteries, allowing up to 8 units to be fully charged within 5 hours. The charger shall be housed in a rugged metal case. Independent charging status indicator shall be available for each charging slot, which shall illuminate green when the battery is fully charged and red during charging cycle. The battery charger shall be capable of operation from 100-240 V AC, 50/60 Hz line and the case finished in black metal measuring 240 (w) x 70 (h) x 115 (d) mm (9.45" x 2.76" x 4.53"). The weight shall be 1.1 kg (2.43 lb.)

The lithium-ion battery shall be the TOA model BP-900A or BP-920.

Manufacturer: TOA Corporation Model: BC-920