Product program / System Microphone / Remote Microphone / Stations

N-8031SB

The hands-free master station board unit is designed for use with TOA's packet intercom system (IP network compatible intercom system) that employs the packet audio technology.
The hands-free master station board unit allows the user to mount the unit into a customized housing of their choice.
The hands-free master station board unit is a 2-wire system and shall be capable of automatic duplex hands free operation without the use of handsets and shall employ echo cancellation. Handset conversation can be established in conjunction with the optional model RS-191 (manufactured by TOA Corporation). The master station board unit shall have 4 control inputs to facilitate automatic call selection allowing the user to make calls via a contact such as a footswitch.
The master station shall also perform the following features: Voice calling, Automatic connection, Continuous call, One-touch dialing, Call hold, Automatic call forwarding, Emergency paging, Scan monitoring, Three-party conference and many more.

The dimension of the master station board unit shall be 70 (W) × 185 (H) × 20.6 (D) mm (2.76” x 7.28” x 0.81”). Weight shall be 205 g (0.45 lb.)

Optional extras: RS-191 handset manufactured by TOA Corporation.