Product program / System Microphone / Remote Microphone / Stations

RM-200SA

Elegant station in desktop enclosure with a goose-neck microphone. 13 programmable buttons, a button with folding safety cover for emergency functions and talk button, expandable to Max 55 keys. Due to controlled microphone the intercom can be used as emergency intercom. Very easy to use by the programmable functions:
- Start of a pre-programmed emergency sequence with stored messages through the covered alarm key
- Manual announcements are made into selectable areas, call
- Select background music
- Activation of preprogrammed transfers of any sources in any areas
- Display specific error messages
- Alarm acknowledge and reset
When used as a emergency microphone the following additional functions:
- Start, pause, skip and stop alarm sequences in specific sections of the fire
- Lamp test
Ready light, General failure indicator and VU-meter. Built-in speaker to listen to the chime programmable before and/or after the broadcast. Adjustable microphone and speaker levels. Monitoring of control and audio paths, as well as the preamplifier according to EN 60849, EN54-16 and ISO 7240-16.