Product program / System Microphone / Remote Microphone / Stations

RM-320F

<div>Keyboard extension for fire station with 20 freely programmable keys. A green and a high-resolution LED per button to the appropriate display of various functions or conditions allowing the free programming of each button according to the features of the voice alarm system.</div><div>Complete with wall mount.</div><div>&nbsp;</div><div>The keyboard extension is certified by a notified body (notified) according to EN 54-16 along with the voice alarm system VX-3000 and VM-3000.&nbsp;</div>