Product program / Loudspeaker / Horn

TC-651M

<div>The specified horn speaker shall be designed especially for outdoor applications. The horn speaker shall be a reflex horn type suitable for paging and tone signaling distribution. The speaker component shall be a compression driver with a polyimide diaphragm to prevent deformation from heat and improve low frequency characteristics.</div><div>The horn speaker shall be a horn speaker that has been proved to provide 100 or more hours of operation at 50W in a continuous load test employing a test signal that meets the International Electrotechnical Commission (IEC) 60268-1: 1985 standard. Power handling shall be 50 W. Rated impedance shall be selectable (200 ohms, 330 ohms, 670 ohms for 100V line; 100 ohms, 200 ohms, 330 ohms and 670 ohms for 70 V line). The sensitivity measured at 1m with 1 W of power shall be 111 dB. Frequency response shall be 200 Hz to 6k Hz.</div><div>
</div><div>Horizontal and vertical dispersion at -6 dB below the on-axis reference at 2k Hz shall be 50° (H) x 50° (V). The paging horn shall comply with the IEC IP65 standard for dust and water resistance and operate within a temperature range from -20°C to +60°C (-4°F to +140°F).</div><div>The speaker shall feature shock-resistant aluminum oval horn. The mounting bracket, bracket holder and the horn flare shall be treated with 50-micron thick powder paint coating, and external hardware (screws, bolts, nuts) shall be made of stainless steel. The paging horn shall include an integral speaker cable, insulated polyvinyl chloride type, with strain-relief, 6 mm (0.24")diameter and 600 mm (1.97') length. Dimensions shall be ø400 x 376(D) mm (ø15.75" x 14.8"). Weight shall be 4 kg (8.82 lb).</div><div>The reflex horn speaker shall be TOA model TC-651M or equivalent.</div>